| Customer |  | ............................................................................................................................ |  |  |
| --- | --- | --- | --- | --- |
| Software |  | Neclog 3.0 |  |  |
| Version No. |  | 3.0 |  |  |
| System Location |  | ............................................................................................................................ |  |  |
| Protocol Pre Approval |  |  |  |  |
| Prepared By: |  |  | Name : ................................................................. Sign : ................................................................. Date : ................................................................. | Company ...................................................................................... |
| Reviewed By: |  |  | Name : ................................................................. Sign : ................................................................. Date : ................................................................. | Company .................................................................................... |
| Approved By: |  |  | Name : ................................................................. Sign : ................................................................. Date : ................................................................. | Company .................................................................................... |
| Test Execution Details |  |  |  |  |
| Test Executed By: |  |  | Name : ................................................................. Sign : ................................................................. | Company ................................................................................... |
| Test Verified By: |  |  | Name : ................................................................ Sign : ................................................................ | Company ................................................................................... |
| Test Date |  |  | Start of Test ................/...................../................... (dd/mmm/yyyy) | End of Test ................/...................../................ (dd/mmm/yyyy) |

Contents:

1	Protocol Pre approval	3

2	Brief Description	3

3	Purpose	3

4	Test procedures	3

4.1	Test rules	3

5	System Architecture	4

5.1	Server Architecture	4

6	Verification of Test system details (Centralised Server)	5

6.1	Computer System Details	5

6.1.1	Software and Computer Details……………………………………………………………………...5

6.1.2	Operating System Details…………………………………………………………………………….6

6.2	Master Document Verification	7

6.3	Ethernet Communication verification	7

6.4	Utilities Verification	8

6.5	Software Details	9

6.6	Restore Utility	10

6.7	Backup Utility	11

7	Deviation Report	12

8	Appendix	13

9	Conclusion	14

10	Approval of test results	14

# Protocol Pre approval

The responsible person signing the Pre-Approval page (page no: 1) had reviewed and approved the     Installation Qualification protocol for Newtronic Neclog 3.0 Software. Signing of this protocol indicates that the contents of the documents had been reviewed, all test procedures are accurate and the acceptance criteria are applicable for the intended purpose of this study.

# Brief Description

The Neclog 3.0 software qualification and documentation is carried at Newtronic Lifecare Equipment Pvt. Ltd. for functionality testing of all forms and features in Neclog 3.0 software. This qualification document ensures the software is tested and qualified before release and can be used for future reference.

The Neclog 3.0 is a browser based 21 CFR part 11 software used for logging of parameters temperature and humidity from the Newtronic data logger NW70. The software is a browser based application and is 21 CFR ready software with all features available.

# Purpose

The purpose of this document is to verify test for,

- Installation of Neclog Software.

- Identification of critical instrumentation related to computer in which the software is installed.

- Availability of required utilities.

- Availability of necessary documentation.

# Test procedures

The installation of Software shall be verified by reviewing the installed systems and physical parameters, using the test data sheets provided in the protocol. The test data sheets will be used to document the installation of the software.

## Test rules

The IQ forms are intended for entering test notations pertaining to individual tests and any deviations that may occur.

All empty test result must be completed manually during the test execution, as well as for the remarks areas.

If the test is not applicable please marked "N / A” (not applicable) or "N / R" (nothing to report). All corrections must be dated and done by hand. The original info has to be crossed out by a single line. The corrected information must be clearly visible.

Each completed tests has to be signed and dated. Deviations from the IQ specification that occur must be registered in the deviation protocol and recorded in the appendix.

The IQ is concluded if all acceptance criteria are fulfilled and the notations / deviations registered in the deviation protocol are remedied or accepted.

# System Architecture

SYSTEM ACHITECTURE DIAGRAM

## Server Architecture

Centralize Server

MSSQL

Centralized

DB

Browser Based Application

TCP IP Network

NW 70

NW 70

NW 70

NW 70

NW 70

NW 70

NW 70

NW 70

NW 70

| Sr. No. | Technical data Version |  | Observation |  | Test result met Yes/No | Results and Comments |
| --- | --- | --- | --- | --- | --- | --- |
| # Verification of Test system details (Centralised Server) |  |  |  |  |  |  |
| # 6.1 COMPUTER System Details |  |  |  |  |  |  |
| 6.1.1 Software and Computer Details |  |  |  |  |  |  |
|  | Description | Describes the details of software and computer which will be installed and qualified |  |  |  |  |
| a) | Test / Acceptance | Software : Neclog 3.0 |  |  |  |  |
| b) | Test / Acceptance | Supplier Name: Newtronic Lifecare Equipment Private Limited. |  |  |  |  |
| c) | Test / Acceptance | Computer System Make : |  |  |  |  |
| d) | Test / Acceptance | System Tag Number : |  |  |  |  |
| e) | Test / Acceptance | Location (Room #): |  |  |  |  |
| f) | Test / Acceptance | Model Number: |  |  |  |  |
| g) | Test / Acceptance | Serial Number: |  |  |  |  |

| Sr. No. | Technical data Version |  |  | Observation |  | Test result met Yes/No | Results and Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 6.1.2 Operating System Details |  |  |  |  |  |  |  |
|  | Description | The test defines the Centralized Server system Hardware configuration: |  |  |  |  |  |
| a) | Test / Acceptance | Configuration | Minimum required |  | Actual Availability |  |  |
|  |  | Processor | Xeon, 3.2 GHz |  |  |  |  |
|  |  | Ram | 4 GB |  |  |  |  |
|  |  | Harddisk | 180 GB |  |  |  |  |
|  |  | No. Of USB Ports | 2 |  |  |  |  |
|  |  | Operating System | Windows 8 |  |  |  |  |
| b) | Test / Acceptance | Is the prerequisites software installed in the computer system : - Updated Anti Virus - Is Internet Information Service (IIS) installed? - Is latest Adobe Flash Player installed? - Is Adobe Acrobat Reader installed? - Is Adobe Flash Player ActiveX installed? - Is Power Settings for below options disabled? - Hard disk - Sleep - Hybernate - Is port 502 and 1433 enabled in firewall? |  |  |  |  |  |

| Sr. No. | Technical data Version |  | Observation | Test result met Yes/No | Results and Comments |
| --- | --- | --- | --- | --- | --- |
| 6.2 Master Document Verification |  |  |  |  |  |
|  | Description | The listed documents must be available with their reference no., revision no., date, etc |  | Yes / No |  |
| a) | Test / Acceptance | Paper License Details: |  |  |  |
| b) | Test / Acceptance | System Operation Manual: Operation Manual Ver ........ |  |  |  |

| Sr. No. | Technical data Version |  | Observation | Test result met Yes/No | Results and Comments |
| --- | --- | --- | --- | --- | --- |
| 6.3 Ethernet Communication Verification |  |  |  |  |  |
|  | Description | Check for the computer system Ethernet settings. |  | Yes / No |  |
| a) | Test / Acceptance | Computer System Ethernet IP Configuration: - IP address - Subnet Address - Gateway Address |  |  |  |
| b) | Test / Acceptance | Data Logger 1 1. Tag Name 2. IP Address 3. Number of active probes (1~16) 4. Connection to NECLOG ok? |  |  |  |
| c) | Test / Acceptance | Data Logger 2 1. Tag Name 2. IP Address 3. Number of active probes (1~16) 4. Connection to NECLOG ok? |  |  |  |

| Sr. No. | Technical data Version |  | Observation | Test result met Yes/No | Results and Comments |
| --- | --- | --- | --- | --- | --- |
| 6.4 Utilities Verification |  |  |  |  |  |
|  | Description | The utilities to the computer system must be supplied/connected properly. |  | Yes / No |  |
| a) | Test / Acceptance | Electrical supply for Computer : - UPS Supply: 220 ~ 240 VAC |  |  |  |

| Sr. No. | Technical data Version |  | Observation | Test result met Yes/No | Results and Comments |
| --- | --- | --- | --- | --- | --- |
| 6.5 Software Details: |  |  |  |  |  |
|  | Description | The software must be installed properly at the defined path properly. |  | Yes / No |  |
| a)a)a | Test / Acceptance | Is the SQL password details entry during installation of Neclog 3.0 is in encrypted form? |  |  |  |
| b)B | Test / Acceptance | Is Application Software Neclog 3.0 installed properly? |  |  |  |
| c)c | Test / Acceptance | Software Installation Path: |  |  |  |

| Sr. No. | Technical data Version |  | Observation | Test result met Yes/No | Results and Comments |
| --- | --- | --- | --- | --- | --- |
| 6.6 Restore Utility: |  |  |  |  |  |
|  | Description | The software must have the backup restore utility for restoring the Blank database/Backup |  | Yes / No |  |
|  | Test / Acceptance | Does the Restore Utility software available for restoration of backed data? |  |  |  |
|  | Test / Acceptance | Open the Restore Utility and Enter the Server Details Does the Screen popup with message of - Restore Blank Database - Restore Existing Database |  |  |  |
|  | Test / Acceptance | Click on Restore Blank Database to open the Restore Utility Option. The Restore Utility window with below option must open - Select Path - Restore Data - Close |  |  |  |
|  | Test / Acceptance | Click on Select Path option and Choose Blank database. - The Selected Backup must get selected when clicked on select Path (e.g. C:inetpub►Database►neclog_3_0.bak) |  |  |  |
| Sr. No. | Technical data Version |  | Observation | Test result met Yes/No | Results and Comments |
|  | Test / Acceptance | Click on Restore Data option to restore the blank Database backup. - The Selected Backup must get restored with a message “Database Restore Successfully” |  |  |  |
|  | Test / Acceptance | Click on Close option to Close the Utility. - The Restore Utility must get closed successfully |  |  |  |

| Sr. No. | Technical data Version |  | Observation | Test result met Yes/No | Results and Comments |
| --- | --- | --- | --- | --- | --- |
| 6.7 Backup Utility: |  |  |  |  |  |
|  | Description | The system and the software must have the backup hardware and utility for taking the backup |  | Yes / No |  |
| a) | Test / Acceptance | Does the computer have Backup media for storage of Data backup taken from Application Software? - HDD drive - USB Port |  |  |  |
| b) | Test / Acceptance | Does the Application Software have Backup utility for taking the Data backup to Backup media? |  |  |  |

# 7.  Deviation Report

Report Number: ………………………………………………….

Deviations to the acceptance criteria that occurred during testing need to be stated in the deviation report. One deviation report must be created for each deviation and the report number to be indicated accordingly.

The deviation report can be copied as required.

| Description of problem | ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… |
| --- | --- |
| Measures for trouble shooting | ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… |
| Remarks | ……………………………………………………………………………………… ……………………………………………………………………………………… ……………………………………………………………………………………… |
| Executed By Verified/ accepted by | Name:………………………Date: . . . . . . . . . . . . . . . . Signature: . . . . .. . . . . . . . . . . . . . . Name:………………………Date: . . . . . . . . . . . . . . . . Signature: . . . . .. . . . . . . . . . . . . . |

# Appendix

| Annexure Number | Contents | Number of pages |
| --- | --- | --- |

# Conclusion

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . . . . . . . . . . . .

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . . . . . . . . . . . . . . . . . . . .

# Approval of test results

The Installation Qualification is approved if all acceptance criteria are fulfilled and the notations / deficiencies registered in the deviation protocol are corrected or fully accepted.

Approved By:

| Tests executed | Name | Signature and Date |
| --- | --- | --- |
| Executed by | . . . . . . . . . . . . . . . . . . . . . | . . . . . . . . . . . . . . . . . . . . . . . . |
| All Test criteria have been fulfilled | Name | Signature and Date |
| Verified by | . . . . . . . . . . . . . . . . . . . . . | . . . . . . . . . . . . . . . . . . . . . . . . |
| All Test criteria have been fulfilled | Name | Signature and Date |
| Approved by | . . . . . . . . . . . . . . . . . . . . . | . . . . . . . . . . . . . . . . . . . . . . . . |